Emergency Ambulance Medical Equipment List

Structural Material

- Structure: preferably aluminum/vinyl laminated walls and industrial vinyl flooring for easy sanitization.

- Cabinets for medical supplies, drug lockers

- Climate Control: Separate, independently controlled air conditioning and heating for the driver and patient compartments.

- Communication & Safety: GPS tracking, radio systems, sirens, warning light bars (red/blue), and fire extinguishers.

## Accessories

- Main Stretcher: adjustable stretcher for patient transport.

- Spinal Board (Plastic Made): Used to immobilize and safely transport patients with suspected spinal injuries.

- Chair Stretcher: Converts into a chair to maneuver patients through narrow spaces.

## Oxygen and Respiratory Equipment

- Oxygen Regulator – Vacuum Source – Air: Controls and regulates oxygen flow.

- Nebulizer: electric

- V. Holder: Holds intravenous bags securely.

- Small Oxygen Cylinder (2 liters): Portable oxygen supply, includes 5 adult masks and 5 children’s masks.

- Oxygen Tube (10 L.) Qty 4: Larger oxygen supply for extended use.

- Oxygen Mask (Adults and Pediatrics): 10 sets for delivering oxygen.

- Endotracheal Tube (Multisizes): For airway management.

- Oxygen Concentrator: Provides a continuous flow of oxygen.

- Ambu Bag (Adults and Neonates): 10 sets each for manual ventilation.

- Laryngoscope Set (Adults and Pediatrics): For intubation procedures.

- Ventilator (Adult and Neonates): Provides mechanical ventilation (3 sets each)

## Medical Devices and Equipment

- Defibrillator with 3 Leads ECG: Essential for monitoring heart rhythms and delivering shocks if needed.

- Monitor: Includes SPO2 sensors for adults and neonates, NIBP cuffs for all ages, ECG cables.

- Suction Unit (Fixed): Powered by oxygen tube for clearing airways.

- Suction Unit (Portable): Mobile suction unit for emergency use.

- Portable Sphygmomanometer: For mobile blood pressure measurements.

- Glucometer with a Box of Strips: Measures blood glucose levels.

- Pulse Oximeter (Adults and Neonates): Monitors oxygen saturation levels

- Syringe Pump:  (10 pcs).

- Cervical Collar Set: Immobilizes the neck to prevent further injury.

- Thermometer: Measures body temperature.

- Body, Back, and Limb Splints: For immobilizing fractures and injuries.

- Complete First Aid Kit: Contains a variety of emergency medical supplies.

## Specialized Medical Kits

- Syringes and Serum Sets: For administering injections and intravenous fluids.

- IV hangers

- Burning Set: Specialized equipment for treating burns.

- Small Surgery Set/ Suture kit: Basic tools for minor surgical procedures.

- Nasogastric Sondes: Multiple sizes for gastric decompression.

- Suction Catheter: Multiple sizes for airway clearance.

- Stethoscope

## Other Equipment

- Infection Control kit: N95 respirators, gloves, face shields, and sanitizers.

- Body Bag: For transporting deceased individuals.